## Final_Network_Req_RFP
S.No. | Category | Equipment Type | Model | Description | Purpose | Qty
1 | Network Core Equipment | Switch | Arista 7050SX3-48YC8-R | Arista 7050X3, 48x25GbE SFP & 8x100GbE QSFP switch, rear-to-front air, 2xAC, 2xC13-C14 cords | Front End Aggregate switches for GDC | 2
2 | Network Core Equipment | Support | 1 month Acare Support/HWReplacement [60 Months X 2 switches] | 1 Month A-Care Software & NBD Hardware Replacement/Same Day Ship for 7050SX3-48YC8 [60 MONTHS X 2 switches] | 5 year Support for 2 X Arista 7050SX3-48YC8 | 120
3 | Network Core Equipment | License | LIC-FIX-2-3 [Enhances L3 license for Arista] | Enhanced L3 License for Arista switches, 40-64 port 10G (BGP, OSPF, ISIS, PIM, NAT) | License for 2 X Arista 7050SX3-48YC8 | 2
3 | Network Core Equipment | AOC cable | AOC-S-S-25G-10M | 25GbE SFP25 to SFP25 Active Optical Cable, 10m | Connect the existing Distribution switches to Aggregate switches | 12
4 | Network Core Equipment | AOC cable | AOC-S-S-25G-20M | 25GbE SFP25 to SFP25 Active Optical Cable, 20m | Connect the existing Distribution switches to Aggregate switches | 12
7 | Network Core Equipment | Optics | QSFP-100G-SR4 | 100GBASE-SR4 QSFP100 transceiver, up to 70m over parallel OM3 or 100m over OM4 multi-mode fiber | Connect the Aggregate switches to SciDMZ switches | 8
8 | Network Core Equipment | Optics | QSFP-40G-SR4 | 40GBASE-SR4 QSFP+ transceiver, up to 100m over parallel OM3 or 150m over OM4 multi-mode fiber | Connect the Aggregate switches to SciDMZ switches | 8
1 | Compute Rack - Network | Switch | Arista DCS-7060SX2-48YC6-R | Arista 7060X2, 48x25GbE SFP & 6x100GbE QSFP switch, rear-to-front air, 2xAC, 2xC13-C14 cords | Top of the Rack (ToR) switches for GDC Compute racks | 4
2 | Compute Rack - Network | Support | 1 month Acare Support/HWReplacement [60 Months X 4 switches] | 1 Month A-Care Software & NBD Hardware Replacement/Same Day Ship for 7060SX2-48YC6 [60 MONTHS X 2 switches] | 5 Year Support for 4X Arista DCS-7060SX2-48YC6-R | 240
3 | Compute Rack - Network | AOC cable | AOC-S-S-25G-10M | 25GbE SFP25 to SFP25 Active Optical Cable, 10m | Connect Compute ToR switches to Front End Distribution switches | 8
4 | Compute Rack - Network | AOC cable | AOC-S-S-25G-20M | 25GbE SFP25 to SFP25 Active Optical Cable, 20m | Connect Compute ToR switches to Front End Distribution switches | 8
1 | F5 Support - Network | F5 support | F5-SVC-VPR-PREL1-3 | VIPRION Service: Premium (Level 1-3) Covered product: F5-VPR-LTM-C2400-AC Serial Numbers: chs413403s Term Dates: 8/29/21 - 8/28/24 | 3 Year support for F5 viprion Chassis | 1
2 | F5 Support - Network | F5 support | F5-SVC-VPR-PREL1- 3 | VIPRION Service: Premium (Level 1-3) Covered product: F5-VPR-LTM-B2250 Serial Numbers: bld020126s, bld020115s Term Dates: 8/29/21 - 8/28/24 | 3 Year support for F5 viprion Blade 1&2 | 2
3 | F5 Support - Network | F5 support | F5-SVC-VPR-PREL1- 3 | VIPRION Service: Premium (Level 1-3) Covered product: F5-VPR-LTM-B2250 Serial Numbers: bld050093s, bld050101s Term Dates: 9/14/21 - 8/28/24 | 3 Year support for F5 viprion Blade 3&4 | 2
4 | F5 Support - Network | F5 support | NEX-F5-SVCBIG- PRE-PST | Nexum Provided F5 Premium Support Covered product: F5-BIG-LTM-7250V Serial Numbers: f5-ngmr-hbtg Term Dates: 8/29/21 - 8/28/24 | 3 Year support for F5 LTM 7250 | 1